## EQUIPS
LLISTAT D'EQUIPAMENT D'IL·LUMINACIÓ NORMAL
Tipologia | Identificació de la instal·lació | Model | Fabricant | Quantitat
IL·LUMINACIÓ NORMAL | FITXES TÈCNIQUES | JDE IP-65 LED | J.DOS
IL·LUMINACIÓ NORMAL | FITXES TÈCNIQUES | VENUS LED | SALVI
IL·LUMINACIÓ NORMAL | FITXES TÈCNIQUES | VISO LED | SALVI
IL·LUMINACIÓ NORMAL | FITXES TÈCNIQUES | LOGOS | SALVI
BUS DALI | PLÀNOLS IE
MECANISMES | PLÀNOL IE
DETECTORS DE PRESÈNCIA | PLÀNOLS IE
DOWNLIGHT/APLIC | PLÀNOL IE-I03.01 | LED |  | 8
TIRES LED CONTÍNUES | PLÀNOL IE-I03.01 | 85mm/85mm/2,8m/4,3m/8,4m |  | 29
DOWNLIGHT/APLIC | PLÀNOL IE-I03.02 | LED |  | 4
TIRES LED CONTÍNUES | PLÀNOL IE-I03.02 | 85mm/85mm/2,8m/4,3m/8,4m |  | 36
DOWNLIGHT/APLIC | PLÀNOL IE-I03.03 | LED |  | 4
TIRES LED CONTÍNUES | PLÀNOL IE-I03.03 | 85mm/85mm/2,8m/4,3m/8,4m |  | 34
DOWNLIGHT/APLIC | PLÀNOL IE-I03.04 | LED |  | 13
TIRES LED CONTÍNUES | PLÀNOL IE-I03.04 | 85mm/85mm/2,8m/4,3m/8,4m |  | 36
DOWNLIGHT/APLIC | PLÀNOL IE-I04.01 | LED |  | 13
TIRES LED CONTÍNUES | PLÀNOL IE-I04.01 | 85mm/85mm/2,8m/4,3m/8,4m |  | 10
PROJECTOR LED | PLÀNOL IE-I04.01 | 1X150 M/SUPERFICIAL |  | 17
DOWNLIGHT/APLIC | PLÀNOL IE-I04.02 | LED |  | 6
TIRES LED CONTÍNUES | PLÀNOL IE-I04.02 | 85mm/85mm/2,8m/4,3m/8,4m |  | 14
PROJECTOR LED | PLÀNOL IE-I04.02 | 1X150 M/SUPERFICIAL |  | 12
DOWNLIGHT/APLIC | PLÀNOL IE-I04.03 | LED |  | 1
TIRES LED CONTÍNUES | PLÀNOL IE-I04.03 | 85mm/85mm/2,8m/4,3m/8,4m |  | 22
DOWNLIGHT/APLIC | PLÀNOL IE-I04.04 | LED |  | 1
TIRES LED CONTÍNUES | PLÀNOL IE-I04.04 | 85mm/85mm/2,8m/4,3m/8,4m |  | 11
PROJECTOR LED | PLÀNOL IE-I04.04 | 1X150 M/SUPERFICIAL |  | 24
DOWNLIGHT/APLIC | PLÀNOL IE-I05.01 | LED |  | 11
TIRES LED CONTÍNUES | PLÀNOL IE-I05.01 | 85mm/85mm/2,8m/4,3m/8,4m |  | 37
DOWNLIGHT/APLIC | PLÀNOL IE-I05.02 | LED |  | 10
TIRES LED CONTÍNUES | PLÀNOL IE-I05.02 | 85mm/85mm/2,8m/4,3m/8,4m |  | 20
PROJECTOR LED | PLÀNOL IE-I05.02 | 1X150 M/SUPERFICIAL |  | 4
DOWNLIGHT/APLIC | PLÀNOL IE-I05.03 | LED |  | 20
TIRES LED CONTÍNUES | PLÀNOL IE-I05.03 | 85mm/85mm/2,8m/4,3m/8,4m |  | 36
DOWNLIGHT/APLIC | PLÀNOL IE-I05.03 | LED |  | 10
TIRES LED CONTÍNUES | PLÀNOL IE-I05.03 | 85mm/85mm/2,8m/4,3m/8,4m |  | 38
DOWNLIGHT/APLIC | PLÀNOL IE-I06.01 | LED |  | 5
TIRES LED CONTÍNUES | PLÀNOL IE-I06.01 | 85mm/85mm/2,8m/4,3m/8,4m |  | 20
PROJECTOR LED | PLÀNOL IE-I06.01 | 1X150 M/SUPERFICIAL |  | 8
TIRES LED CONTÍNUES | PLÀNOL IE-I06.03 | 85mm/85mm/2,8m/4,3m/8,4m |  | 14
PROJECTOR LED | PLÀNOL IE-I06.03 | 1X150 M/SUPERFICIAL |  | 15
DOWNLIGHT/APLIC | PLÀNOL IE-I06.04 | LED |  | 25
TIRES LED CONTÍNUES | PLÀNOL IE-I06.04 | 85mm/85mm/2,8m/4,3m/8,4m |  | 7
PROJECTOR LED | PLÀNOL IE-I06.04 | 1X150 M/SUPERFICIAL |  | 13
DOWNLIGHT/APLIC | PLÀNOL IE-I07.01 | LED |  | 55
TIRES LED CONTÍNUES | PLÀNOL IE-I07.01 | 85mm/85mm/2,8m/4,3m/8,4m |  | 80
DOWNLIGHT/APLIC | PLÀNOL IE-I07.02 | LED |  | 82
TIRES LED CONTÍNUES | PLÀNOL IE-I07.02 | 85mm/85mm/2,8m/4,3m/8,4m |  | 45
DOWNLIGHT/APLIC | PLÀNOL IE-I07.03 | LED |  | 32
TIRES LED CONTÍNUES | PLÀNOL IE-I07.03 | 85mm/85mm/2,8m/4,3m/8,4m |  | 92
DOWNLIGHT/APLIC | PLÀNOL IE-I07.04 | LED |  | 32
TIRES LED CONTÍNUES | PLÀNOL IE-I07.04 | 85mm/85mm/2,8m/4,3m/8,4m |  | 54
DOWNLIGHT/APLIC | PLÈNOL IE-I08.01 | LED |  | 30
TIRES LED CONTÍNUES | PLÀNOL IE-I08.01 | 85mm/85mm/2,8m/4,3m/8,4m |  | 28
DOWNLIGHT/APLIC | PLÀNOL IE-I08.02 | LED |  | 20
TIRES LED CONTÍNUES | PLÀNOL IE-I08.02 | 85mm/85mm/2,8m/4,3m/8,4m |  | 18
DOWNLIGHT/APLIC | PLÀNOL IE-I08.03 | LED |  | 25
TIRES LED CONTÍNUES | PLÀNOL IE-I08.03 | 85mm/85mm/2,8m/4,3m/8,4m |  | 10
DOWNLIGHT/APLIC | PLÀNOL IE-I08.04 | LED |  | 30
TIRES LED CONTÍNUES | PLÀNOL IE-I08.04 | 85mm/85mm/2,8m/4,3m/8,4m |  | 6

## FREQÜÈNCIES
FREQÜÈNCIES DE MANTENIMENT D'EQUIPAMENT D'IL·LUMINACIÓ NORMAL
MENSUAL
Verificar el seu funcionament
Revisar la visibilitat del pilot
Verificar retolació
TRIMESTRAL
Neteja dels equips
Inspeccionar l'estat de les fixacions
Comprovar bateries
Verificar connexions
NORMATIVA
Compliment de les operacions i freqüències establertes per les legislacions vigents